[image: image1.jpg]Sechler Architectu rel | C.
91 Foxtail Drive
Black Hawk, CO 80422
720-273-3504





August 31, 2016

Sheryl Keller

3 Pinchot Lane

Roosevelt Ridge

Roosevelt Ridge Preliminary Design Review 

Re: 
Preliminary Design Review  for the Keller Residence located at Lot 11 Roosevelt Ridge Private Reserve.

I have reviewed the drawings for the Keller Residence per the Roosevelt Ridge HOA design guidelines.  The house plans provided by Earth and Sky Architecture will be a good fit for the Roosevelt Ridge Community.  I propose conditional approval based upon the following criteria.

1.  Owner has not provided construction submittal form, design review fees and damage and clean up deposit fees.   

2.  Architectural Plans do not show a site plan.  Please provide a detailed site plan per the design guideline requirements.  Site plans at a minimum should have location of all structures, building envelope location, existing and proposed grading, finish floor elevations, driveway design including parking and fire access, utility locations, well and septic locations, proposed landscaping, erosion control and revegetation plan.

3.  The architectural plans do not provide enough detail as to exterior finish materials and details.  Please provide specifications or material samples for siding, stone veneer, soffit and fascia, windows, doors (including garage door), trim, exterior lighting, and railings. Specifications or material samples should include color choice and shall depict accurate mass and scale of material to be used.

4.  Please provide maximum building height dimension as measured from average finished grade to midpoint of highest roof plane.

5. Please provide calculations for exterior stone veneer coverage per the design guideline requirements.  Note that the stone treatment on the elevations appear to be less than the 25% minimum requirement.  Also, detached garage should incorporate stone veneer to match house design.

6.  Please provide calculations for window coverage per each elevation.

7.  Please provide details for window recess or trim.

8.  Please provide a wildfire safety plan including defensible space and fire-proof house design considerations.

9.  Note that only design development level of drawings were submitted for preliminary review.  A permit set of drawings shall be required for final DRC approval.  Permit drawings should include completed architectural, structural, well and septic design, and site plan as required by Gilpin County. Please re-submit one hard copy set of drawings with above revisions / clarifications for final review. 

Feel free to contact me with any comments or questions.

Regards,

David Sechler

Principal in Charge
Sechler Architecture, LLC. /  91 Foxtail Dr. / Black Hawk, CO / 

(P) 720-273-3504 / www.sechlerarchitecture.com


