[image: image1.jpg]Sechler Architectu rel | C.
91 Foxtail Drive
Black Hawk, CO 80422
720-273-3504





August 31, 2016

Thaddeus Wiatrowski

1 Quentin Lane

Roosevelt Ridge

Roosevelt Ridge Preliminary Design Review 

Re: 
Preliminary Design Review  for the Wiatrowski Residence located at Lot 13 Roosevelt Ridge Private Reserve.

I have reviewed the drawings for the Wiatrowski Residence per the Roosevelt Ridge HOA design guidelines.  The house plans provided by David Woody and Co. will be a good fit for the Roosevelt Ridge Community.  I propose conditional approval based upon the following criteria.

1.  Owner has not provided construction submittal form, design review fees and damage and clean up deposit fees.  

2.  Architectural Plans do not show a site plan.  Please provide a detailed site plan per the design guideline requirements.  Site plans at a minimum should have location of all structures, building envelope location, existing and proposed grading, finish floor elevations, driveway design including parking and fire access, utility locations, well and septic locations, proposed landscaping, erosion control and revegetation plan.

3.  The architectural plans do not provide enough detail as to exterior finish materials and details.  Please provide specifications or material samples for siding, stone veneer, soffit and fascia, windows, doors (including garage door), trim, railings, and exterior lighting. Specifications or material samples should include color choice and shall depict accurate mass and scale of material to be used.  All exterior lighting, including flood lights shall be dark sky compliant.

4.  The retaining walls shown are too tall and do not blend well with the natural topography.  A shorter and/or stepped retaining wall(s) should be used.  Note that either a landscape block retaining wall, natural rock, or concrete wall covered in stone shall be allowed.  Exposed concrete retaining walls are not permitted.

5.  Please provide maximum building height dimension as measured from average finished grade to midpoint of highest roof plane.

6. Please provide calculations for exterior stone veneer coverage per the design guideline requirements.  Note that there is a 25% minimum for stone veneer coverage. 

7.  Please provide calculations for window coverage per each elevation.

8.  Please provide details for window recess or trim.

9.  Please provide a wildfire safety plan including defensible space and fire-proof house design considerations.

10.  Note that a permit set of drawings shall be required for final DRC approval.  Permit drawings should include completed architectural, structural, well and septic design, and site plan as required by Gilpin County.  Please re-submit one hard copy set of drawings with above revisions / clarifications for final review.

Feel free to contact me with any comments or questions.

Regards,

David Sechler

Principal in Charge
Sechler Architecture, LLC. /  91 Foxtail Dr. / Black Hawk, CO / 

(P) 720-273-3504 / www.sechlerarchitecture.com


